THE GEISA SPECTROSCOPIC DATABASE SYSTEM REVISITED FOR IASI DIRECT RADIATIVE TRANSFER MODELLING

### N. Jacquinet-Husson*, N.A. Scott*, A. Chédin*, and A.A. Chursin**

*Laboratoire de Météorologie Dynamique, Ecole Polytechnique, 91128 Palaiseau, France,

**Institute of Atmospheric Optics, 634021, Tomsk, Russia

e-mail:nicole.jacquinet@lmd.polytechnique.fr, fax: (33-1)-69-33-37-58, phone : (33-1)-69-33-48-02

## THE GEISA SPECTROSCOPIC DATABASE SYSTEM

#### THE GEISA-2002 SYSTEM

Gestion et Etude des Informations Spectroscopiques Atmosphériques ; Management and Study of Atmospheric Spectroscopic Information

###### Three DATABASES

Individual spectral lines spectroscopic parameters database

42 molecules (96 isotopic species) between 0 and 22,656 cm-1.

1,346,266 entries. between 0 and 22,656 cm-1.

160 Mbytes

Absorption cross-sections database(mainly CFC’s)

23 molecular species

4, 716,743 entries

130 Mbytes

##### Refractive Indices of Basic Atmospheric aerosol components database

About 20 components

50 Mbytes

ASSOCIATED MANAGEMENT SOFTWARES

(For each database)

DETAILED CONTENT OF GEISA-97 EDITION

### INDIVIDUAL LINES SPECTROSCOPIC DATA CATALOG

Detailed content of GEISA97 edition

| Mol. | ID | # Lines | Intensity average | Alpha average | Iso. ID | # Lines | F-Min (cm-1) | F-Max (cm-1) | Int-Min (cm molec-1) | Int-Max (cm molec-1) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| H2O | 1 | 50217 | 1.450E-21 | 0.069 | 161 162 171 181 182 | 30117 9799 3744 6357 200 | 0.401 0.007 6.471 6.785 1231.680 | 22656.465 5507.548 11150.790 13900.421 1607.611 | 1.010E-32 1.240E-32 1.490E-27 1.000E-27 1.000E-26 | 2.670E-18 2.700E-22 9.830E-22 5.390E-21 7.940E-26 |
| CO2 | 2 | 62816 | 1.793E-21 | 0.071 | 626 636 628 627 638 637 828 728 838 | 27896 9154 13554 6625 2312 1584 1107 288 296 | 442.006 497.201 507.860 554.909 567.596 584.754 615.974 626.438 2115.685 | 9648.007 8104.666 8132.007 6961.226 4946.384 3641.072 3669.609 2358.226 2276.481 | 0.000E+00 (§) 0.000E+00 (§) 1.390E-36 1.000E-27 3.700E-27 3.710E-27 1.760E-40 3.870E-27 4.870E-42 | 3.520E-18 3.570E-20 6.850E-21 1.280E-21 7.230E-23 1.360E-23 1.310E-23 2.500E-24 1.760E-25 |
| O3 | 3 | 281607 | 6.533E-23 | 0.069 | 666 668 686 667 676 | 167755 19147 7513 58254 28938 | 0.026 0.921 1.177 0.289 0.213 | 4060.783 1177.493 1145.690 820.380 822.795 | 4.060E-29 4.880E-28 7.500E-28 5.340E-31 1.490E-31 | 4.200E-20 7.760E-23 7.560E-23 5.570E-25 6.060E-25 |
| N2O | 4 | 26771 | 2.688E-21 | 0.075 | 446 447 448 456 546 | 19423 1004 2034 2128 2182 | 0.838 542.242 545.179 5.028 4.858 | 5131.249 3482.917 3463.967 3462.689 3473.528 | 4.000E-27 3.430E-26 1.230E-25 5.220E-26 4.720E-26 | 1.000E-18 4.150E-22 2.050E-21 3.670E-21 3.600E-21 |
| CO | 5 | 13515 | 7.545E-22 | 0.047 | 26 27 28 36 38 37 | 5908 748 770 4768 741 580 | 3.530 3.714 3.629 3.414 3.462 1807.871 | 8464.883 6338.061 6266.578 8180.219 6123.294 6196.551 | 7.880E-78 8.190E-40 7.610E-39 3.610E-73 2.580E-40 1.030E-36 | 4.460E-19 1.600E-22 8.320E-22 4.680E-21 8.700E-24 1.680E-24 |
| CH4 | 6 | 66883 | 2.622E-22 | 0.052 | 211 311 | 56989 9894 | 0.010 0.032 | 6184.492 6069.086 | 4.060E-34 4.100E-34 | 2.062E-19 2.329E-21 |
| O2 | 7 | 6292 | 4.117E-26 | 0.044 | 66 67 68 | 1435 4186 671 | 0.000 0.000 1.572 | 15927.806 14536.515 15851.213 | 0.000E+00 (§) 1.147E-47 1.186E-35 | 8.833E-24 5.337E-26 1.710E-26 |
| NO | 8 | 94738 | 4.989E-23 | 0.053 | 46 48 56 | 93360 679 699 | 0.000 1601.909 1609.585 | 9273.214 2038.846 2060.462 | 1.401E-85 4.190E-28 4.430E-28 | 6.211E-20 1.390E-22 2.550E-22 |
| SO2 | 9 | 38853 | 1.065E-21 | 0.114 | 626 646 | 38566 287 | 0.017 2463.470 | 4092.948 2496.088 | 1.020E-28 9.740E-24 | 6.090E-20 3.430E-23 |
| NO2 | 10 | 100680 | 6.194E-22 | 0.067 | 646 | 100680 | 0.498 | 2938.381 | 4.240E-28 | 1.300E-19 |
| NH3 | 11 | 11152 | 4.275E-21 | 0.077 | 411 511 | 10062 1090 | 0.215 0.375 | 5294.501 5179.786 | 2.970E-29 5.460E-29 | 5.450E-19 1.990E-21 |
| PH3 | 12 | 4635 | 6.457E-21 | 0.075 | 131 | 4635 | 17.805 | 2445.553 | 3.690E-28 | 2.930E-19 |
| HNO3 | 13 | 171504 | 6.879E-22 | 0.105 | 146 | 171504 | 0.035 | 1769.982 | 3.490E-27 | 3.020E-20 |
| OH | 14 | 41786 | 1.048E-21 | 0.044 | 61 62 81 | 41631 90 65 | 0.005 0.010 0.053 | 19267.869 1.824 6.325 | 1.401E-85 2.090E-31 1.200E-30 | 3.458E-18 5.780E-29 1.200E-26 |
| HF | 15 | 107 | 6.772E-19 | 0.041 | 19 | 107 | 41.111 | 11535.570 | 1.100E-26 | 1.440E-17 |
| HCl | 16 | 533 | 3.189E-20 | 0.040 | 15 17 | 284 249 | 20.270 20.240 | 13457.841 10994.721 | 1.090E-26 1.010E-26 | 5.030E-19 1.610E-19 |

Detailed content of GEISA97 edition (contd.)

| Mol. | ID | # Lines | Intensity average | Alpha average | Iso. ID | # Lines | F-Min (cm-1) | F-Max (cm-1) | Int-Min (cm molec-1) | Int-Max (cm molec-1) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HBr | 17 | 576 | 1.072E-20 | 0.051 | 19 11 | 289 287 | 16.237 16.232 | 9758.564 9757.189 | 1.000E-26 1.010E-26 | 1.210E-19 1.180E-19 |
| HI | 18 | 237 | 4.623E-21 | 0.050 | 17 | 237 | 12.509 | 8487.305 | 1.020E-26 | 1.540E-19 |
| ClO | 19 | 7230 | 1.605E-22 | 0.087 | 56 76 | 3599 3631 | 0.028 0.015 | 1207.639 1199.840 | 1.520E-29 5.090E-30 | 3.240E-21 1.030E-21 |
| OCS | 20 | 24922 | 4.251E-21 | 0.090 | 622 624 632 623 822 634 | 14500 4764 2403 1802 1096 357 | 0.406 0.396 0.404 509.007 0.381 1972.188 | 4118.004 4115.931 4012.468 4115.588 4041.565 2910.543 | 1.560E-25 6.400E-27 1.720E-27 1.010E-23 2.620E-28 1.010E-23 | 8.550E-20 4.720E-20 1.200E-20 8.430E-21 2.090E-21 5.240E-22 |
| H2CO | 21 | 2702 | 8.610E-21 | 0.120 | 126 128 136 | 1772 367 563 | 0.000 0.035 0.037 | 2998.527 47.486 75.745 | 1.020E-38 1.160E-30 2.020E-30 | 7.500E-20 1.110E-22 6.290E-22 |
| C2H6 | 22 | 14981 | 2.686E-22 | 0.101 | 226 236 | 8944 6037 | 765.027 725.603 | 3000.486 918.717 | 5.800E-27 1.320E-28 | 3.210E-20 1.770E-23 |
| CH3D | 23 | 11524 | 9.333E-25 | 0.060 | 212 | 11524 | 7.760 | 3146.460 | 5.570E-30 | 4.030E-22 |
| C2H2 | 24 | 1668 | 2.340E-20 | 0.061 | 211 231 | 1432 236 | 604.774 613.536 | 3358.285 3374.223 | 1.370E-27 3.820E-26 | 1.080E-18 1.580E-20 |
| C2H4 | 25 | 12978 | 1.411E-21 | 0.087 | 211 311 | 12967 281 | 701.203 2947.832 | 3242.172 3180.238 | 6.940E-26 5.060E-24 | 8.410E-20 1.620E-21 |
| GeH4 | 26 | 824 | 4.978E-20 | 0.100 | 824 | 804 | 1937.371 | 2224.570 | 1.960E-22 | 3.680E-19 |
| HCN | 27 | 2575 | 1.205E-20 | 0.132 | 124 125 134 | 2275 115 185 | 2.956 2.870 2.880 | 18407.973 9671.953 9627.961 | 1.780E-28 5.110E-26 4.150E-26 | 7.100E-19 2.730E-21 8.290E-21 |
| C3H8 | 28 | 9019 | 4.168E-23 | 0.080 | 221 | 9019 | 700.015 | 799.930 | 3.770E-24 | 4.310E-22 |
| C2N2 | 29 | 2577 | 2.668E-21 | 0.080 | 224 | 2577 | 203.955 | 2181.690 | 6.590E-24 | 2.580E-20 |
| C4H2 | 30 | 1405 | 3.445E-21 | 0.100 | 211 | 1405 | 190.588 | 654.425 | 2.650E-24 | 6.930E-20 |
| HC3N | 31 | 2027 | 2.693E-21 | 0.100 | 124 | 2027 | 474.293 | 690.860 | 6.360E-24 | 4.420E-20 |
| HOCl | 32 | 15565 | 2.295E-21 | 0.060 | 165 167 | 8057 7508 | 0.024 0.349 | 3799.249 3799.682 | 1.650E-27 7.220E-28 | 3.590E-20 1.140E-20 |
| N2 | 33 | 117 | 5.729E-29 | 0.047 | 44 | 117 | 2001.711 | 2619.230 | 2.330E-34 | 3.410E-28 |
| CH3Cl | 34 | 9355 | 5.584E-22 | 0.085 | 215 217 | 5311 4044 | 679.050 674.143 | 3172.927 3161.830 | 1.250E-25 4.190E-26 | 1.130E-20 3.540E-21 |
| H2O2 | 35 | 100781 | 5.090E-22 | 0.107 | 166 | 100781 | 0.043 | 1499.487 | 5.090E-29 | 5.610E-20 |
| H2S | 36 | 20788 | 2.992E-22 | 0.136 | 121 131 141 | 12330 3564 4894 | 2.985 5.601 5.615 | 4256.547 4098.234 4171.176 | 1.450E-26 2.020E-26 2.020E-26 | 1.360E-19 5.990E-21 1.080E-21 |
| HCOOH | 37 | 3388 | 5.186E-21 | 0.400 | 261 | 3388 | 1060.962 | 1161.251 | 2.140E-22 | 2.840E-20 |
| COF2 | 38 | 54866 | 2.178E-21 | 0.084 | 269 | 54866 | 725.005 | 1981.273 | 4.740E-24 | 3.830E-20 |
| SF6 | 39 | 11520 | 4.551E-21 | 0.050 | 236 | 11520 | 940.425 | 952.238 | 2.160E-22 | 1.500E-20 |
| C3H4 | 40 | 3390 | 4.277E-22 | (*) | 341 | 3390 | 290.274 | 359.995 | 2.020E-23 | 3.180E-21 |
| HO2 | 41 | 26963 | 9.907E-22 | 0.088 | 166 | 26963 | 0.055 | 3675.819 | 3.550E-27 | 2.900E-20 |
| ClONO2 | 42 | 32199 | 1.093E-22 | 0.140 | 564 764 | 21988 10211 | 763.641 765.212 | 797.741 790.805 | 1.250E-24 6.340E-25 | 3.850E-22 1.260E-22 |
| TOTAL LINES IN GEISA 1997: 1,346,266 |  |  |  |  |  |  |

Underlined molecules are new or updated for GEISA97

(*) missing value set to 0.000

(§) minimum intensity value corresponding to extremely weak line

Fields of the format for each transition in the GEISA database

| Fortran Format Descriptor | F12.6 | D11.4 | F6.4 | F10.4 | A36 | F4.2 | I3 | I3 | A1 | I2 | I1 | E10.3 | F5.4 | F8.6 | I3 | I6 | 120 characters |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C % Format Descriptor | 12.6f | 10.3e | 6.4f | 10.4f | .36s | 4.2f | 3i | 3i | .1s | 2i | 1i | 10.3e | 5.4f | 8.6f | 3i | 6i |  |
| Fortran Variable Type1 | R*8 | R*8 | R*4 | R*4 | C*36 | R*4 | I*2 | I*2 | C*1 | I*2 | I*2 | R*4 | R*4 | R*4 | I*2 | I*4 | 100 bytes |
| Field Name4-5 | A | B | C | D | E | F | G | I | J | K | L | M | N | O | P | Q | 16 fields |

The R, I, C symbols are abbreviations for the conventional Real, Integer and Character Fortran type declarators

(2)	The F, D, I, C symbols are abbreviations for the standard float, double, integer and char C type declarators.

(3)	Real type values (Fortran R* or C F, D) are stored in IEEE format,

Character strings (E and J fields) are blank right justified (no ending null character).

(4)	The A-J fields are those used in the GEISA software:

(A)	Wavenumber (cm-1) of the line associated with the vibro-rotational transition.

(B)	Intensity of the line (cm molecule-1 at 296K).

(C)	Lorentzian collision halfwidth (cm-1 atm-1 at 296K).

(D)	Energy of the lower transition level (cm-1).

(E)	Transition quantum identifications for the lower and upper levels of the transition, as the following:

TRS1	upper state vibrational identification,

TRS2	lower state vibrational identification,

RN1	upper state rotational identification,

RN2	lower state rotational identification.

Blank fields (spaces) at this place match missing information.

(F)	Temperature dependence coefficient n of the halfwidth (value set to 0.75 if n not available)

(G)	Identification code for isotope.

(I)	Identification code for molecule.

(J) Internal GEISA code for data identification.

Fields of the format for each transition in the GEISA database

(Following)

| Fortran Format Descriptor | F12.6 | D11.4 | F6.4 | F10.4 | A36 | F4.2 | I3 | I3 | A1 | I2 | I1 | E10.3 | F5.4 | F8.6 | I3 | I6 | 120 characters |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C % Format Descriptor | 12.6f | 10.3e | 6.4f | 10.4f | .36s | 4.2f | 3i | 3i | .1s | 2i | 1i | 10.3e | 5.4f | 8.6f | 3i | 6i |  |
| Fortran Variable Type1 | R*8 | R*8 | R*4 | R*4 | C*36 | R*4 | I*2 | I*2 | C*1 | I*2 | I*2 | R*4 | R*4 | R*4 | I*2 | I*4 | 100 bytes |
| Field Name4-5 | A | B | C | D | E | F | G | I | J | K | L | M | N | O | P | Q | 16 fields |

(5)	The K-Q fields correspond to information related to the actual transition, in a purpose of possible intercomparaison with the HITRAN database.

These fields, not of prime importance for the GEISA software, contain the following parameters:

(K)	Molecule number

(L)	Isotope number (1=most abundant, 2=second, etc.).

(M)	Transition probability (debye2).

(N)	Self-broadened halfwidth (HWHM) (cm-1 atm-1 at 296K).

(O)	Air-broadened pressure shift of line transition (cm-1 atm-1).

(P)	Accuracy indices for frequency, intensity and halfwidth.

(Q)	Indices for lookup of references for frequency, intensity and halfwidth.

DESCRIPTION OF THE GEISA-97 CROSS-SECTIONS DATABASE

23 MOLECULES                 4,716,743 ENTRIES

ASSOCIATED MANAGEMENT SOFTWARE

GEISA97 Database Cross-Sections File and Associated Management Software

# Cross-Sections Data

In this file, the spectroscopic parameters related to heavy molecules, like the CFC's, are not stored following the usual standard (i.e. via, line frequency, intensity, half-width, etc.), but principally as absorption cross-sections determined through the following expression:

where ( is a frequency (cm-1); ((() is the absorption cross-section (cm2 molecule-1); I0(() and I(() are the intensities, at the frequency (, of the incident and transmitted radiation, respectively; n is the concentration of the molecules (molecule cm-3) and l the optical path length (cm).

It is the ((() value derived from high-resolution experimental data that is cataloged in the GEISA cross-sections file.

New results on CFC’s cross-sections have been obtained beyond this issue of the database and will be included in the GEISA-2001 issue.

GEISA Cross-Sections Sub-database

Management Program

A data management program is supplied with the GEISA Cross-Section Sub-database.

This program is controlled by an interactive menu allowing the user to extract any part of the cross-sections database.

The outputs can be selected by:

- Molecules

- Wave-numbers

- T and P atmospheric conditions

## THE CNES/EUMETSAT GEISA/IASI-2001 DATABASE

#### GEISA/IASI-2001 database GENERAL CONTEXT

IASI is a spectrometer which measures the spectral distribution of radiation. The instrument’s concept is based on the Michelson interferometer. In addition, it includes an infrared imaging device that allows cloud cartography to be derived in its field of view.

The instrument’s main characteristics were laid down in order to meet the requirements of the atmospheric meteorological mission. In particular, spectral and radiometric resolutions are linked to the requirements of weather forecast centers for highly accurate humidity and temperature profiles.

The GEISA/IASI database is both an extraction (spectral range 600 - 3000 cm-1) and a partial update of the GEISA-97 Spectroscopic Database. It is maintained and developed with the purpose of assessing the IASI measurements capabilities and its own database quality, within the ISSWG in the frame of the CNES/EUMETSAT Polar System EPS, by simulating high resolution radiances and/or using experimental data.

GEISA/IASI-2001 DATABASE OVERALL CONTENTS

- A Sub-database on individual spectral lines of 14 molecules (53 isotopic species):

H2O, CO2, O3, N2O, CO, CH4, O2, NO, SO2, NO2, HNO3, OCS, C2H2, N2.

- A Sub-database on absorption Cross-Sections of 6 molecules:

### CFC-11, CFC-12, CFC-14, CCl4, N2O5, HCFC-22.

- A Sub-database on micro-physical and optical properties of atmospheric aerosols (similar with the GEISA-2001 one)

GEISA/IASI-2001 individual spectrAl lines

SUB-DATABASE

###### Marked molecular species have been selected for GEISA/IASI archive

(CH3D considered as an isotope of Methane in GEISA/IASI)

GIDSC ( GEISA/IASI DATABASE SCIENTIFIC committee)

proposed new format for the GEISA/IASI line by line sub - database

| Format | F12.6 | D11.4 | F6.4 | F10.4 | A36 | F4.2 | I3 | I3 | A1 | I2 | I1 | E10.3 | F5.4 | F8.6 | I3 | I6 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Field name | A | B | C | D | E | F | G | I | J | K | L | M | N | O | P | Q |

| F6.4 | F10.6 | D11.4 | F6.4 | F4.2 | F8.6 | F6.4 | F5.4 | F4.2 | F4.2 | F8.6 | F8.6 | F4.2 | F4.2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R | A' | B' | C' | F' | O' | R' | N' | S | S' | T | T' | U | U' |

A: 	wavenumber  (cm-1) of the line

B: 	intensity of the line in (cm-1/(molecule.cm-2) @296K

C: 	Air broadening  pressure halfwidth (HWHM)  (cm-1atm-1) @296K

D: 	Energy of the lower transition level (cm-1)

E: 	Transition quantum identifications for the lower and upper state of the transition

F: 	Temperature dependence coefficient n of the air broadening halfwidth

G: 	Identification code for isotope

I: 	Identification code for molecule

J: 	Internal GEISA code for the data identification

K : 	Molecule number

L: 	isotope number (1=most abundant, 2= second…etc)

M: 	Transition probability (in debye2)

N: 	Self broadening  pressure halfwidth (HWHM) (cm-1atm-1) @296K (for water)

O: 	Air pressure shift of the line transition  (cm-1atm-1) @296K

P: 	Accuracy indices for frequency, intensity and halfwidth

Q: 	Indices for lookup of references for frequency, intensity and halfwidth

R: 	temperature dependence coefficient n of the air pressure shift

GIDSC ( GEISA/IASI DATABASE SCIENTIFIC committee)

proposed new format for the GEISA/IASI line by line sub - database

(Following)

| Format | F12.6 | D11.4 | F6.4 | F10.4 | A36 | F4.2 | I3 | I3 | A1 | I2 | I1 | E10.3 | F5.4 | F8.6 | I3 | I6 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Field name | A | B | C | D | E | F | G | I | J | K | L | M | N | O | P | Q |

| F6.4 | F10.6 | D11.4 | F6.4 | F4.2 | F8.6 | F6.4 | F5.4 | F4.2 | F4.2 | F8.6 | F8.6 | F4.2 | F4.2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R | A' | B' | C' | F' | O' | R' | N' | S | S' | T | T' | U | U' |

A': estimated accuracy (cm-1) on the  line position

B': estimated accuracy on the intensity of the line in (cm-1/(molecule.cm-2)

C': estimated accuracy on the air collision halfwidth (HWHM)  (cm-1atm-1)

F': estimated accuracy on the  temperature dependence coefficient n of the air broadening halfwidth

O': estimated accuracy on the air pressure shift of the line transition

(cm-1atm-1) at 296K

R': estimated accuracy on the temperature dependence coefficient n of the air pressure shift

GIDSC ( GEISA/IASI DATABASE SCIENTIFIC committee)

proposed new format for the GEISA/IASI line by line sub - database

(Following)

| Format | F12.6 | D11.4 | F6.4 | F10.4 | A36 | F4.2 | I3 | I3 | A1 | I2 | I1 | E10.3 | F5.4 | F8.6 | I3 | I6 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Field name | A | B | C | D | E | F | G | I | J | K | L | M | N | O | P | Q |

| F6.4 | F10.6 | D11.4 | F6.4 | F4.2 | F8.6 | F6.4 | F5.4 | F4.2 | F4.2 | F8.6 | F8.6 | F4.2 | F4.2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R | A' | B' | C' | F' | O' | R' | N' | S | S' | T | T' | U | U' |

water spectroscopic parameter specific additional accuracie informations

N': 	estimated accuracy on the self broadened (HWHM) (cm-1atm-1) at 296K

S: 	temperature dependence coefficient n of the self  broadening halfwidth

S': 	estimated accuracy on the temperature dependence coefficient n of the self  broadening halfwidth

T: 	self pressure shift of the line transition  (cm-1atm-1) at  296K

T': 	estimated accuracy on the self pressure shift of the line transition (cm-1atm-1) at 296K

U: 	temperature dependence coefficient n of the self  pressure shift

U': 	estimated accuracy on the temperature dependence coefficient n of the self  pressure shift

GEISA/IASI-2001 CROSS-SECTIONS

SUB-DATABASE

Content of GEISA /IASI-2001 Cross-Sections Sub-database.

| Molecule id. Formula | Spectral interval | Temperatures | References |
| --- | --- | --- | --- |
| CFC11 CCl3F | 810 - 880 cm-1 1050 - 1120 cm-1 | 55 temperatures from 190 to 296 K | Li and Varanasi, 1994 |
| CFC12 CCl2F2 | 800 - 950 cm-1 1050 - 1200 cm-1 | 52 temperatures from 190 to 296 K | Varanasi and Nemtchinov, 1994 |
| CFC-14 CF4 | 1250 - 1290 cm-1 | 55 temperatures from 180 to 296 K | Varanasi et al., 1999a |
| CCl4 | 750 - 812 cm-1 | 32 temperatures from 208 to 296 K | Varanasi et al., 1999b |
| N2O5 | 557 – 1763 cm-1 | 4 temperatures from 233 to 293 K | Massie et al., 1985 |
| HCFC-22 | 750 – 870 cm-1 765 – 1380 cm-1 | 8 temperatures from 216 to 294 K | Varanasi et al., 1994 ; Clerbaux et al., 1993 |

THE GEISA AND GEISA/IASI-2001 AEROSOLS SUB-DATABASE

AEROSOL CHARACTERISTICS

Microphysical PROPERTIES

- Size Distribution

- Refractive index

- Shape

OPTICAL PROPERTIES

- Extinction coefficient

- Scattering coefficient

- Absorption coefficient

- Single scattering albedo

- Asymmetry parameter

- Phase function

Mie theory assumed (particles as spheres) for aerosol particles and cloud droplets and ice crystals (in the terrestrial spectral range).

Geometric optics in the case of ice crystals (hexagonal columns in the solar spectral range).

Different size distribution function (Gamma, lognormal, analytical) depending on the nature of aerosols (water clouds, cirrus clouds, ….)

GEISA-2001 Aerosols Sub-Database

GEISA-2001/ Aerosols database contains data on microphysical and optical properties of basic aerosol components. The following 4 sub-databases are included: A database on refractive indices of basic atmospheric aerosol components: Solid Substances Acids Water ice Water droplets Water soluble components Thin films A Database on atmospheric aerosols from LITMS (Rublev, 1994) The software package and database OPAC (Optical Properties of Aerosols and Clouds) (Hess et al., 1998) The Global Aerosol Data Set: GADS (Koepke et al., 1997)

ABBREVATIONS

GADS Global Aerosol Data Set (Max-Plank Institut für Meteorologie, Hamburg, Germany) LITMS Laboratory for Information Technologies and Mathematical Simulation (Kurchatov Institute, Moscow, Russia) OPAC Optical Properties of Aerosols and Clouds (Max-Plank Institut für Meteorologie, Hamburg, Germany) WMO World Meteorological Organization (Geneva, Swizerland)

## DATABASES DISTRIBUTION FACILITIES

availability of THE GEISA DATABASE

The current GEISA database is available with its associated management software, freely from the ARA/LMD group workstations web site:

http ://ara01.lmd.polytechnique.fr/registration

with registerme as name and no password required

(over 350 registered users )

Added to this facility, the GEISA97 file as a whole, with related description and general information files, is available from the following anonymous ftp site:

ara01.lmd.polytechnique.fr

in the sub-directories:								pub/libgeisa

More complementary information and assistance will be provided upon request at:			nj@ara01.lmd.polytechnique.fr.

GEISA/IASI-2001 ftp access

GEISA/IASI-2001 individual lines sub-database ftp access

- All data are on ftp-anonymous at

ara01lmd..polytechnique.fr/pub/geisa/iasi2000

- There are 14 gzipped files *.gz with data for each molecule:

<molecule name>_iasi00.g00.gz,

e.g.:

h2o_iasi00.g00.gz

co2_iasi00.g00.gz

……….

- The whole data base is written in the gs_iasi00.g00.gz file.

- Detailed content of GEISA/IASI-2000 edition is written in gs_iasi00.trs file.

All *.gz files are binary ones! The gs_iasi00.trs file is in ASCII format.

===============================================

# GEISA/IASI-2001 cross sections sub-database ftp access

- All data are on ftp-anonymous at

ara01.lmd.polytechnique.fr/pub/geisa/iasi2000/cross

- See README_cross file for more information.

===============================================

# GEISA/IASI-2001 aerosols sub-database ftp access

- GEISA_AEROS/IASI-00 data files and management software are available from the anonymous ftp sites at:

ara01.lmd.polytechnique.fr/pub/geisa/iasi/aerosol

ara01.lmd.polytechnique.fr/pub/geisa/iasi/aerosolweb/ftp_aeros.zip

GEISA/IASI-2001 Aerosols FTP server data files and folders ftp://ara01.lmd.polytechnique.fr/pub/geisa/iasi/aerosol

# Sub-folders of “aerosol”

| Folder name | Folder designation |
| --- | --- |
| Aerosol l | Root folder Refractive indices of basic aerosol constituents(LITMS) |
| Doc | Documentation files (format Word and Pdf) |
| Example |  |
| Glodat | The GADS data files |
| opac_calc | Microphysical and optical aerosol models (OPAC) |
| Optdat | Optical properties of basic aerosol constituents |
| Prog | Sources of programs (OPAC, GADS, LITMS) |
| massie2000 | Refractive indices of aerosol constituents (gathered by S. Massie) |
| Web | GEISA/IASI Web Interface pages (Zip archive file) |

## VALIDATION AND QUALITY CONTROL OF SPECTROSCOPIC INFORMATION

remaining spectroscopic related problems

Some conclusions of validation exercises, using the 4A-00/LMD Model, in the case of IASI radiative transfer modelling

- The water vapour spectroscopic parameters: still need to be validated;

- The water vapour continuum: more tuning to be done when more situations and situations wit high water vapor content become available;

- the freons bands at 850 and 920 cm-1: refine the temperature dependence;

- O3 in the 9.6 micron region: the spectroscopic parameters still need to be validated;

- some CO2 – Q branches: further improvement/tuning of the line mixing

ACKNOWLEDGMENTS

to

CNES and EUMETSAT for their Encouragements and Support